## MilkoScan FT120 Upgrade
Date issued: | 2016-04-01
Tony Maddison
Revision | 6.0
MilkoScanTM FT120, UPGRADES
| Total cost of configuration: | EUR |  | 0
4020690 | MilkoScan FT120 Analyser , UPGRADES | Price | Qty. | Total
Use this number and then select the 'S' number options below.
Additional calibrations and software modules can be ordered for existing MilkoScan FT120 instruments. Make sure to provide the serial nunber of the instrument when ordering an Upgrade. It is always recommended to upgrade to the most recent version of software before adding new software modules.
S182002 | Auto Clean and Zero Module | 0
Software Options
S182009 | DDE Option: Dynamic Data Exchange (DDE) Option is needed when you want to transfer real-time data from the FT1 instrument to other PC- programs e.g. Production Control Systems or Laboratory Information Management Systems | 0
S182008 | Balance Option: For the dilution of samples with a balance is recommended for easy preparation of solid and semi-solid products.. The dilution factor obtained from the connected balance will automatically correct the predicted results. Interfacing with Mettler or Sartorius balances, | 0
S182007 | Application Module: For analyzing more complex products and parameters other than the basic milk, cream and whey. This module is required to import optional Foss calibrations. It is recommended to order the reference manual P/N 491449 | 0
S182010 | Import Option: To import sample sets (CSV files) exported from other FT120 instruments. | 0
S182012 | Quality Assurance Module: This Module provides Quality Assurance of analysis and of the products analysed. Acceptance limits may be defined for Products. Sample adulteration detection is provided by the PCA calibration feature. It also enables reprediction of calibration samples and finding samples with similar spectra. | 0
S182013 | Advanced Performance Module: For the development of your own calibrations for complex or new products and paramters that are not supplied by Foss. Advanced features analyse the full Infrared Spectrum and select the optimal wavelengths for the calibration. The S180001 'Application Module' is required for this module. | 0
S182011 | Advanced Calibration Access Module: This Module makes it possible to utilize calibrations developed with the 'Advanced Performance Module' on other FT120 instruments. The S180001 'Application Module' is required for this module. | 0
S182014 | Calibration Master Module. This is the same as the 'Advanced Performance Module' that is installed on a PC independent of any instrument. The Calibration Master includes the Application Module, Quality Assurance Module, Advanced Performance Module and Import Option. | 0
S182050 | Calibration Master Upgrade: This option is now called MscFT1 Calibration Development Standalone. Previously purchased Calibration Master S182014 will receive the equivalent features including PLS calibration development and ASM option for Abnormal Sample Screening. Calibrations can be exported in both MscFT1 and MscFT120 format | 0
Calibrations
Abbreviations for parameters:
F=Fat, P=Protein, L=Lactose, GLU=Glucose, SUC=Sucrose, FRU=Fructose, GAL=Galactose, TSU=Total Sugars, TS=Total Solids, SNF= Solids Non Fat, SALT=Salt, CA=CitricAcid, FPD=Freezing Point Depression, LA=Lactid Acid, U=Urea, CAS=Casein, MA=Malic Acid, AC=Acidity, LAC=Log(Acidity), DEN=Density, FFA=Fatty Acids, TA=Total Acidity.
S182015 | Improved Milk Calibration | 0
(F, P, L, TS, SNF, CA, FPD, DEN, TA, FFA)
Requires S180001 Application Module'
S182016 | Improved Milk Calibration with Urea | 0
(F, P, L, TS, SNF, CA, FPD, DEN, TA, FFA, U)
Requires S180001 Application Module'
S182017 | Improved Milk Calibration with Casein | 0
(F, P, L, TS, SNF, CA, FPD, DEN, TA, FFA, CAS)
Requires S180001 Application Module'
S182018 | Improved Milk Calibration with Casein and Urea | 0
(F, P, L, TS, SNF, CA, FPD, DEN, TA, FFA, CAS, U)
Requires S180001 Application Module'
S182019 | Differential Casein calibration | 0
(CAS)
Requires S180001 Application Module'
S182020 | Cream Enhanced Calibration | 0
(F, P, L, TS, SNF)
Requires S180001 Application Module'
S182021 | Hard Cheese Calibration | 0
(F, P, TS, SALT)
Requires S180001 Application Module' and S180002 ' Balance Option.
S182022 | Soft Cheese Calibration | 0
(F, P, TS, SALT)
Requires S180001 Application Module' and S180002 ' Balance Option.
S182023 | pH Independent Whey Calibration | 0
(F, P, L, TS)
Requires S180001 Application Module'
S182024 | UF Whey Calibration | 0
Calibration for Ultra Filtrated (UF) whey products independent of the pH value of the sample.
(P, TS)
Requires S180001 Application Module'
S182025 | Evaporated Whey Calibration | 0
Calibration for Evaporated whey products independent of the pH value of the sample.
(P, TS, AC, LAC)
Requires S180001 Application Module'
S182026 | Yoghurt/Fermented Dairy Products Calibration | 0
(F, P, L, GLU, SUC, TSU, SNF, TS, FRU, LA)
Requires S180001 Application Module'
S182027 | Quark Calibration | 0
Calibration for determination of the main components of quark covering a large range in fat and addition of sugars.
(F, P, TS)
Requires S180001 Application Module'
S182028 | Ice Cream and Dessert Calibration | 0
(F, P, L, GLU, SUC, FRU, TSU, TS)
Including desserts with vegtable fat
Requires S180001 Application Module'
S182029 | Concentrated Milk Calibration | 0
Calibrations for concentrated and evaporated milk products.
(F, TS, SNF)
Requires S180001 Application Module'
S182030 | Infant Formula Calibration | 0
Calibration for milk based infant formulas added sucrose and vegetable fat.
(F, TS, SNF)
Requires S180001 Application Module'
S182031 | Juice & Honey Calibration | 0
(FRU, GLU, SUC, TSU, TS, CA, MA)
Requires S180001 Application Module'
S182032 | Added Sugars in Water Calibration | 0
(L, FRU, GAL, GLU, SUC, TSU)
Requires S180001 Application Module'
Calibrations for China
S182040 | Enhanced Basic Yoghurt Calibration for China | 0
S182041 | Enhanced Basic Dessert Calibration for China | 0
S182042 | Enhanced Basic Milk Calibration for China | 0
Operating Software options
S182036 | Upgrade from software version 2.x.x to software version 2 latest version for MilkoScan FT 120. Free of charge. | 0
Spare Parts
S182037 | Yoghurt filtration unit. | 0
Prior to analysis filter unit for filtration of yoghurt with fruit in MilkoScan FT 120. Includes: 1 filter unit 150 mm long, 0,4 mm mesh size
Product Configuration Guide

## REUP
To Index
Recommended End User Price |  |  | Currency | EUR
Valid from 01-01-2016
MilkoScan FT120 upgrade
Part no. | Description | Quantity | Unit | Price/Unit
***** Variants *****
4020690 | MSC FT 120 upgrade | 1 | PC
***** S-Choices *****
ACZ module
S182002 | Auto Clean and Zero Module | 1 | PC
Various modules
S182007 | Application Module | 1 | PC
S182008 | Balance | 1 | PC
S182009 | DDE | 1 | PC
S182010 | Import option | 1 | PC
S182011 | Advanced calibration acces | 1 | PC
S182012 | Quality assurance module | 1 | PC
S182013 | Advanced Performance Module | 1 | PC
S182014 | Calibration Master | 1 | PC
S182050 | Calibration Master upgrade | 1 | PC
Software
S182036 | SW Upgrade | 1 | PC
Yoghurt filter
S182037 | Yoghurt filtration unit | 1 | PC
Calibration
S182015 | Improved milk | 1 | PC
S182016 | Improved milk / urea | 1 | PC
S182017 | Improved milk / casein | 1 | PC
S182018 | Improved milk / urea & casein | 1 | PC
S182019 | Differential casein | 1 | PC
S182020 | Enhanced cream | 1 | PC
S182021 | Hard cheese | 1 | PC
S182022 | Soft cheese | 1 | PC
S182023 | pH independent whey | 1 | PC
S182024 | Ultra Filtrated whey | 1 | PC
S182025 | Evaporated whey | 1 | PC
S182026 | Yogh. & other fermented dairy | 1 | PC
S182027 | Qark | 1 | PC
S182028 | Dessert & Des. add. veget. fat | 1 | PC
S182029 | Concentrated milk | 1 | PC
S182030 | Infant formula | 1 | PC
S182031 | Juice and Honey | 1 | PC
S182032 | Added sugars in water | 1 | PC
S182040 | Calibr.Enh.bacis Yoghurt China | 1 | PC
S182041 | Calibr.Enh.bacis Dessert China | 1 | PC
S182042 | Calibr.Enh.bacis Milk China | 1 | PC

## READ ME
This PCG is setup to retrieve the prices from the REUP sheet
Copy prices from the Foss supplied REUP price list into this sheet.
OR enter local prices into the REUP sheet