## Contents
PCG60074372r8
2017-02-01
Click on the link for the Product Configuration Guide
MilkoScan FT1
MilkoScan FT1 Standalone
MilkoScan FT120 & 1 Upgrade
This PCG is setup to retrieve the prices from the REUP sheet
Copy prices from the Foss supplied REUP price list into this sheet.
OR enter local prices into the REUP sheet

## MilkoScan FT1
Contents
| Date issued: |  | 2017-02-01
Revision: 8.0
Tony Maddison
MilkoScanTM FT1
|  |  | Total cost of configuration: | 0 |  | 0
| Order no. |  | Description | Price | Qty. | Total
| 4550065 | MilkoScan FT1 Basic
|  | Start the order using this SAP BOM number and then make the required selections below. MilkoScan FT1 Basic with calibrations to measure: Milk: (F, P, L, LL,TS, SNF, CA, FPD, DEN, TA, FFA, CAS, U, Gluc, Gal) Cream Calibration: (F, P, L, TS, SNF, FDP) Whey Calibration: (F, P, L, TS, TA) Milk (Traditional): (F, P, L, TS, SNF) Cream (Traditional): (F, P, TS, SNF) Yoghurt & Ice Cream (Basic) : (F, P, TS) |  | 0
Abbreviations for parameters: F=Fat, LF=Low Fat, P=Protein, L=Lactose, LL=Low Lactose, GLU=Glucose, SUC=Sucrose, FRU=Fructose, GAL=Galactose, TSU=Total Sugars, TS=Total Solids, SNF= Solids Non Fat, SALT=Salt, CA=CitricAcid, FP=Freezing Point, LA=Lactid Acid, U=Urea, CAS=Casein, MA=Malic Acid, AC=Acidity, LAC=Log(Acidity), DEN=Density, FFA=Fatty Acids, TA=Total Acidity.
Options
| S180200 |  | LIMS Option: Automatic export of results for importing into a external program. Simple text file format (csv) and to a SQL server databse. | 0
| S180201 |  | ASM, Abnormal Sample Screening Module: Consists of: 1) Software Tools to develop customer specific Untargeted Screening Models. 2) Foss Global Untargeted Raw Cows Milk Model 3) Foss Global Untargeted Processed Milk Model 4) Ability to import customer developed .asm models | 0
| S180050 |  | Balance Dilution Option: Some products with high viscosity require dilution. This option provides for the connection of a balance which allows the software to calculate all dilution facotrs automatically. Interfacing with Mettler or Sartorius balances. | 0
| S180061 |  | Targeted Indentification: Raw Cow Milk Models Identifies adulterants in Raw Milk with the following targeted models: - Hydroxyproline - Sodium nitrite - Melamine - Maltodextrine - Cyanuric Acid - Formaldehyde - Sucrose - Bicarbonate | 0
| S180091 |  | Chinese Software Module Only available for China | 0
| S180060 |  | Chinese Applications Only available for China | 0
| S180062 |  | India Targeted Models Only available for India | 0
| S180051 | Application Module: For analyzing more complex products and parameters found below. Includes: Customising of Foss Global Calibrations with customer data using PLS calibrations. 'Viscosity' settings control the pump speed to allow more viscous products to be analysed Select on of the optional Calibration packages below. |  | 0
|  | S180055 | Total Applications Package S180051 APPPLICATION MODULE IS REQUIRED Includes all the application packages Basic Applications Fortified Milk & Whey Applications Yoghurt & Fermented Applications Dessert & Ice Cream Application | 0
|  | S180057 | Fortified Milk & Whey Applications S180051 APPPLICATION MODULE IS REQUIRED Concentrated Milk Calibration (F, P, L, TS, SNF) Concentrated Whey Calibration (F, P, L, TS, SNF) | 0
|  | S180058 | Yoghurt & Fermented Applications S180051 APPPLICATION MODULE IS REQUIRED (F, LF, P, L, SNF, TS, LA, GLU, SUC, TSU, FRU) | 0
|  | S180059 | Dessert & Ice Cream Application S180051 APPPLICATION MODULE IS REQUIRED (F, P, L, SNF, TS, GLU, SUC, FRU) | 0
|  | S180052 | Calibration Development For the development of new parameters and Adulteration Targeted Indentifaction models. | 0
Manuals
| 60044622 |  | Software Manual, English (Included with Instrument)
| S180203 |  | User's Manual, English
| S180204 |  | User's Manual, French
| S180205 |  | User's Manual, German
| S180206 |  | User's Manual, Spanish
Spare Parts, Consumables & Accessories
| S180042 |  | Yoghurt Filtration Unit: Can Also be purchased on Part Number: 482612 A Stainless Steel filter, 300µm, to remove fruit and larger particles from the yoghurt and Ice Cream samples. | 0
| 60077183 |  | Milk Filter Bag 50 micron Nylon Mesh Filter bag, reusable and washable For filtering liquid samples containing particles such as raw whey. Available april 2017 | 0
| 60079482 |  | Milk Filter Bag 250 micronNylon Mesh Filter bag, reusable and washable For filtering liquid and thick samples containing particles such as yoghurt or ice cream mix Available april 2017 | 0
| S150204 |  | Hand Held Bar Code reader: Datalogic Heron G D130 bar code reader with USB Iinterface 1D Linear labels | 0
| 60053543 |  | In-Line Filter Screen, 24µm, 10 pieces For products with added solids such as cocoa milk and flavoured milks | 0
| 1055038 |  | In-Line Filter, 42µm, 10 pieces For products such as milk and cream | 0
| 60004843 |  | Filter Tool: Helps insert the inline filters | 0
| 60004872 |  | Filter stick assembly | 0
| 540146 |  | Cuvette Type 71210 | 0
| 538918 |  | FOSS Preventative Maintenance Kit, MSCFT120 & MSC FT1 | 0
| 538702 |  | Customer Tool Kit | 0
| 60051874 |  | Customer Maintenance Kit | 0
Reagents
| 509919 |  | S-6060 Zero Liquid Concentrate: 50 sachets; each for 5 liters. Zero Liquid is used during daily routine operation for periodic check/adjustment of the zero point. The zero liquid is automatically taken into the instrument from a built-in reservoir. | 0
| 60077631 |  | MSc Zero 50 sachets; each for 5 liters. NEW improved Zero Liquid with blue color Available March 2017 | 79
| 509935 |  | S-470 Cleaning Agent: 50 Sachets; each for 5 liters. Used for daily cleaning by the instruments automatic cleaning cycle. | 0
| 60070869 |  | MSc-Descaler: 10 Sachets; each for 1 liters. Used for daily 'Extra-Clean' procedure. Keeps the flow system clean from mineral build up. | 0
| 541011 |  | FossClean Enzymatic cleaning detergent Package of 2 bottles. For removing protein build-up in flow system. Approx. duration: 2 months. Detained transport conditions: Keep cool (2-8ºC) | 0
| 537811 |  | FTIR Equalizer Reagent: 6 bottles, 100 ml each. Instrument Standardisation required every 2 to 4 weeks depending on the number of samples analysed. Recommended 1 box every 3 months. Required at installation. Transport conditions: Maximum 25ºC for 14 days. Storage and before use cool (2-8ºC) | 0
| 67165 |  | Antifoam Y-30: Air bubble remover for products with a foaming texture. Detained transport conditions: Temperature not critical | 0
Product Configuration Guide

## MilkoScan FT120 & 1 Upgrades
Contents
| Date issued: |  | 2017-02-01
Revision: 8.0
Tony Maddison
UPGRADES
MilkoScan FT1 MilkoScan FT120 - FT1
|  |  | Total cost of configuration: | 0 |  | 0
| Order no. |  | Description | Price | Qty. | Total
| 4550068 | MilkoScan FT1 & FT120 - Upgrades Start the order using this SAP BOM number and then make the required selections below.
| S180400 | This upgrades MilkoScan FT120 analyzers with the FT1 operator software. Software is compatible with Windows 7 (32/64 Bit). MilkoScan FT1 Basic upgrade includes calibrations to measure: Milk: (F, P, L, LL,TS, SNF, CA, FPD, DEN, TA, FFA, CAS, U, Gluc, Gal) Cream Calibration: (F, P, L, TS, SNF, FDP) Whey Calibration: (F, P, L, TS, TA) Milk (Traditional): (F, P, L, TS, SNF) Cream (Traditional): (F, P, TS, SNF) Yoghurt & Ice Cream (Basic) : (F, P, TS) |  | 0
LIMITATIONS: The Auto Sampler option is not supported in FT1 software. FT120's without the Auto Clean and Zero Module are not supported and will have to be harware upgraded.
Abbreviations for parameters: F=Fat, LF=Low Fat, P=Protein, L=Lactose, LL=Low Lactose, GLU=Glucose, SUC=Sucrose, FRU=Fructose, GAL=Galactose, TSU=Total Sugars, TS=Total Solids, SNF= Solids Non Fat, SALT=Salt, CA=CitricAcid, FP=Freezing Point, LA=Lactid Acid, U=Urea, CAS=Casein, MA=Malic Acid, AC=Acidity, LAC=Log(Acidity), DEN=Density, FFA=Fatty Acids, TA=Total Acidity.
Options Select from these options to add to the FT120 upgrade or to an existing FT1 installation.
| S180200 |  | LIMS Option: Previous DDE Module puchases for FT120 receive this free. Automatic export of results for importing into a external program. Simple text file format (csv) and to a SQL server databse. | 0 | 1 | 0
| S180201 |  | ASM, Abnormal Sample Screening Module: Previous QA Module puchases for FT120 receive this free. Consists of two parts. 1) Software Tools to develop customer specific Untargeted Screening Models. 2) Foss Global Untargeted Raw Cows Milk Model | 0 | 1 | 0
| S180050 |  | Balance Dilution Option: Previous Dilution Option puchases for FT120 receive this free. Some products with high viscosity require dilution. This option provides for the connection of a balance which allows the software to calculate all dilution facotrs automatically. Interfacing with Mettler or Sartorius balances. | 0 | 1 | 0
| S180061 |  | Targeted Indentification: Raw Cow Milk Models Identifies adulterants in Raw Milk with the following targeted models: - Hydroxyproline - Sodium nitrite - Melamine - Maltodextrine - Cyanuric Acid | 0 | 1 | 0
| S180091 |  | Chinese Software Module | 0 | 1 | 0
| S180061 |  | Chinese Applications Only available for China | 0 | 1 | 0
| S180062 |  | India Targeted Models Only available for India | 0 | 1 | 0
| S180051 | Application Module: Previous Application Module puchases for FT120 receive this free. For analyzing more complex products and parameters found below. Includes features for customising of Foss Global Calibrations with customer data using PLS calibrations. HIGH VISCOSITY:. The Msc FT120 and FT1 sold before Jan 2014 do not support this feature as there are hardware differences required to support pump speed control. Select on of the optional Calibration packages below |  | 0 | 1 | 0
|  | S180055 | Total Applications Package S180051 APPPLICATION MODULE IS REQUIRED Includes all the application packages Basic Applications Fortified Milk & Whey Applications Yoghurt & Fermented Applications Dessert & Ice Cream Application | 0 | 1 | 0
|  | S180057 | Fortified Milk & Whey Applications S180051 APPPLICATION MODULE IS REQUIRED Concentrated Milk Calibration (F, P, L, TS, SNF) Concentrated Whey Calibration (F, P, L, TS, SNF) | 0 | 1 | 0
|  | S180058 | Yoghurt & Fermented Applications S180051 APPPLICATION MODULE IS REQUIRED (F, LF, P, L, SNF, TS, LA, GLU, SUC, TSU, FRU) | 0 | 1 | 0
|  | S180059 | Dessert & Ice Cream Application S180051 APPPLICATION MODULE IS REQUIRED (F, P, L, SNF, TS, GLU, SUC, FRU) | 0 | 1 | 0
|  | S180052 | Calibration Development For the development of new parameters and Adulteration Targeted Indentifaction models. | 0 | 1 | 0
Accessories & Spare Parts
| S180042 |  | Yoghurt Filtration Unit: Part Number: 482612 A course filter, 300µm, to remove fruit and larger particles from the yoghurt and Ice Cream samples. | 0 | 1 | 0
| S150204 |  | Hand Held Bar Code reader: Datalogic Heron G D130 bar code reader with USB Iinterface 1D Linear labels | 0 | 1 | 0
Product Configuration Guide

## MilkoScan FT1 Calibrator
Contents
| Date issued: |  | 2017-02-01
Revision: 8.0
Tony Maddison
MilkoScanTM FT1
Calibrator (Stand-alone)
|  |  | Total cost of configuration: | 0 |  | 0
| Order no. |  | Description | Price | Qty. | Total
| 4550066 | MilkoScan FT1 Calibration (Stand Alone)
|  | Start the order using this SAP BOM number and then make the required selections below. For the installation on another computer not connected to the instrument. Develop calibrations without disturbing the daily operators analysis of samples. NOTE: Calibrations developed with this software and transfered to another MilkoScan FT1 require that the Instrument software have the S180051 APPPLICATION MODULE |  | 0
Product Configuration Guide

## Local Price List
RETURN
Recommended End User Price |  |  | Currency
Valid from 01-01-2017
MilkoScan FT1
Part no. | Description | Quantity | Unit | Price/Unit
***** Variants *****
4550065 | MilkoScan FT1 | 1 | PC
4550066 | MSC FT1 Calibr.Developm.Stand Alone | 1 | PC
***** S-Choices *****
MSC FT 1 Options
S180200 | LIMS option | 1 | PC
S180201 | Abnormal Sample Screening Mod. | 1 | PC
S180050 | Balance Dilution Option | 1 | PC
S180051 | Application Module | 1 | PC
S180091 | Chinese Software Module | 1 | PC
Chinese Application
S180060 | Chinese Applications | 1 | PC
MSC FT 1 Manual
S180203 | English | 1 | PC
S180204 | French | 1 | PC
S180205 | Germany | 1 | PC
S180206 | Spanish | 1 | PC
MSC FT 1 PC Option
S180027 | PC-unit | 1 | PC
S180035 | Printer incl. cable | 1 | PC
S180041 | UPS 1500VA | 1 | PC
S150204 | Handheld Barcode Reader | 1 | PC
Calibrations
S180055 | Total Aplications package | 1 | PC
S180057 | Fortified Milk & Whey App. | 1 | PC
S180058 | Yoghurt & Fermented App. | 1 | PC
S180059 | Dessert & Ice Cream App. | 1 | PC
S180061 | Cow milk targeted models | 1 | PC
S180062 | India Targeted Models only IN | 1 | PC
Option Development SW
S180052 | Calibration Development Softwa | 1 | PC
Yoghurt filtration unit
S180042 | Yoghurt filtration unit | 1 | PC
***** Materials *****
Modules & Accessories
538702 | FOSS Cus.Tool.Kit, Msc FT 120 & Msc FT 1 | 1 | PC
Software & Upgrades
60047908 | MSCFT1 & FTIR Calib.SW Installer (4.0.4) | 1 | PC | Item free of charge
Reagents
67165 | Antifoam Y-30, 100 ml | 1 | PC
509919 | S-6060 Zero Liquid Concentrate | 1 | PC
509935 | S-470 Cleaning Agent | 1 | PC
537811 | FTIR Equalizer Reagent | 1 | PC
541011 | Fossclean kit 2x50ml | 1 | PC
60070869 | MSc-Descaler | 1 | PAC
60077631 | MSc Zero | 1 | PAC
Spare parts & Exchange parts
538918 | FOSS PM.Kit, MSCFT120 & MSC FT1 | 1 | PC
540146 | Cuvette Type 71210 | 1 | PC
1055038 | Inlinefilter 42µ ( 10 pcs ) | 1 | PC
60004843 | Filter tool | 1 | PC
60004872 | Filter stick assembly | 1 | PC
60051874 | FOSS Cus.Mtn.Kit, MSCFT120 & MSCFT1 | 1 | PC
60053543 | Filter screen 24µ (10 pcs.) | 1 | PC
60077183 | Milk Filter Bag 50 micron | 1 | PC
60079482 | Milk Filter Bag 250 micron | 1 | PC
Documentation
60045479 | Owners Guide - MilkoScan 1 | 1 | PC
60045490 | Spare Parts Manual - MilkoScan 1 | 1 | PC
Recommended End User Price |  |  | Currency | EUR
Valid from 01-01-2017
MilkoScan FT1-FT120 upgrade
Part no. | Description | Quantity | Unit | Price/Unit
***** Variants *****
4550068 | MSC FT1 & FT120 Upgrade | 1 | PC
***** S-Choices *****
Upgrade for MSC FT1
S180400 | Upg. MSC FT120 with new FT1 SW | 1 | PC
MSC FT1 upgrade options
S180200 | LIMS Option | 1 | PC
S180201 | Abnormal Sample Screening Modu | 1 | PC
S180050 | Balance Dilution Option | 1 | PC
S180051 | Application Module | 1 | PC
S180052 | Calibration Development Softwa | 1 | PC
S180091 | Chinese Software Module | 1 | PC
MSC FT1 upgrade calibrations
S180055 | Total Aplications Package (Gro | 1 | PC
S180057 | Fortified Milk & Whey Applicat | 1 | PC
S180058 | Yoghurt & Fermented Applicatio | 1 | PC
S180059 | Dessert & Ice Cream Applicatio | 1 | PC
S180060 | Chinese Applications (Group 5) | 1 | PC
S180061 | Cow milk targeted models Gr.6 | 1 | PC
S180062 | India Targeted Models only IN | 1 | PC