## MilkoScan MARS
Product Configuration Guide
MilkoScan™ Mars
Introduction
The MilkoScan™ Mars for the analysis of Milk, Cream and whey.
Select instrument
Order no. | Use this number to start the order
4030300 | MilkoScan™ Mars
1. Select instrument version
S600001 | MilkoScan MARS 2
S600002 | MilkoScan MARS 4
S600003 | MilkoScan MARS 6
S600099 | MSC MARS DEMO, All calibrations. 6 month
Power Cables
Pick the country from the list and the matching power cord and plug will be supplied in the installation kit.
2. Select Analytical Packages (Calibrations)
S-Choice | Select Analytical packages to be delivered with the instrument. These are all license controlled and the license file will be found on a USB memory stick supplied with the instrument. In many cases the instrument is pre-configured to the order.
S600006 | Fat (Milk & Cream)
S600007 | Protein (Milk & Cream)
S600008 | Lactose (Milk & Cream)
S600009 | Total Solids (Milk & Cream)
S600010 | Solids non fat (Milk & Cream)
S600011 | Freezing Point (Milk only)
3. Select Adulteration Options
S600012 | Untargeted Cow Milk Screening
S600013 | Untargeted Buffalo Milk Screening
S600016 | Targeted Urea
S600017 | Targeted Sucrose
S600018 | Targeted Potassium Nitrate
S600019 | Targeted Sodium Bicarbonate
S600020 | Targeted Formaldehyde
S600023 | Whey Application Fat, Protein, Lactose, SNF and Total Solids

## MilkoScan MARS upgrade
Product Configuration Guide
MilkoScan™ Mars Upgrade
Introduction
Use this option when order upgrades for instruments already purchased and installed at customers.
Select instrument
Order no. | Use this number to start the order
4030390 | MilkoScan™ Mars Upgrade
1. Select upgrade
S-Choice | Select the upgrade to be made.
S600004 | Upg. MARS 2 to MARS 4
S600005 | Upg. MARS 4 to MARS 6
S600025 | Upg. MARS 2 to MARS 6
2. Select Analytical Packages (Calibrations)
S-Choice | Select Analytical packages. These are all license controlled and the license file will be sent electronically by your local Foss service reperesentative.
S600006 | Fat (Milk & Cream)
S600007 | Protein (Milk & Cream)
S600008 | Lactose (Milk & Cream)
S600009 | Total Solids (Milk & Cream)
S600010 | Solids non fat (Milk & Cream)
S600011 | Freezing Point (Milk only)
3. Select Adulteration Options
S-Choice | Select Analytical packages. These are all license controlled and the license file will be sent electronically by your local Foss service reperesentative.
S600012 | Untargeted Cow Milk Screening
S600013 | Untargeted Buffalo Milk Screening
S600016 | Targeted Urea
S600017 | Targeted Sucrose
S600018 | Targeted Potassium Nitrate
S600019 | Targeted Sodium Bicarbonate
S600020 | Targeted Formaldehyde
S600023 | Whey Application
4. Select New Chassis ID
S600022 | Chassis ID SP

## Reagents, Accessories, Spares
Product Configuration Guide
MilkoScan™ Mars Reagents, Accessories, Spares
Reagents
The MilkoScan™ Mars requires these reagents to operate.
60093992 | MSc Zero Concentrate Replaces MSc Zero, 60077631 Used for rinsing and Zero the FT1 flow system 50 sachets; each for 5 liters. For 3 to 6 months use Shelf life minimum 1 year from shipping Use within 7 days when mixed
60083967 | MSc Wash: 50 Sachets; each for 5 liters. NEW improved cleaning solution used for daily cleaning by the instruments automatic cleaning cycle.
60070869 | MSc-Descaler: 10 Sachets; each for 1 liters. Used for daily 'Extra-Clean' procedure. Keeps the flow system clean from mineral build up.
Consumables
399436 | Sample Cups, 30 ml, with caps
60070860 | Inline Filterstick, SP
Spare parts & Exchange parts
60067217 | Cuvette MSC Mars SP
60067320 | FOSS PM.Kit, MSC Mars Oeno/BeerFoss Go
60067553 | Repair kit valve 6126A (60062375)
60068443 | Embedded SW USB memory MSC Mars, SP
60069149 | Piston assy, SP
60077183 | Milk Filter Bag 50 micron
60079482 | Milk Filter Bag 250 micron
60080594 | Pipette no filter, cpl w. O-ring - SP

## Digital Services
Product Configuration Guide
MilkoScan™ Mars Digital Services
Digital Services
Order no | The FOSS Software services listed below are subscription services and the price is per instrument and per year.
FossConnect consists of different connectivity services for automatic backup of data and remote management of instruments. FossConnect Basic is a free connectivity service with a limited feature set. Please see the FossConnect fact sheet for more information about the different FossConnect services.
FossAssure is a reporting service for monitoring the instrument operational status and validation of the calibration performance. We offer it as either the Instrument monitoring service only, or as a combined Instrument and Calibration monitoring service.
7001349 | FossManager
7001350 | FossManager Pro
7000335 | FossConnect OnPremise
7001531 | FossConnect Private (incl. hosting fee)
7001764 | FossAssure
7001765 | FossAssure Pro
7001353 | FossAssure 90 days trial
7001560 | FossCalibrator
7001561 | FossCalibrator Pro
7001756 | FossCalibrator Pro (90 days trial)
7001348 | LinkDiagnostic

## LOG
CHANGE LOG
Version | Date | Reason for update | Author
PCG60074374r16 | 2022-01-13 | New Template and 2022 update | Tony Maddison
PCG60074374r17 | 2022-08-26 | Update to V2 template | Tony Maddison