## Infratec Sofia 12011001
Date issued: 2022-07-19
Version: 10
Infratec Sofia
Order no. | Description
Analyzer
12011001 | Infratec Sofia
Included in Infratec Sofia
- Analyzer
- Mosaic Updater Software
- Mosaic Express Software
- Transportation box
- Check Cell (select type in Step 4 below)
- One calibration package - Wheat & Barley
- Accessories kit, including
- Owners Guide & Spare Part Manual (GB)
- SD Card
- Power supply, 100 - 240 V
- Power cable 12 V, 3 m
- Tools
- Spare lamp
Step 2 - Included calibration package Mandatory (single choice allowed)
One calibration package is included with the Infratec Sofia. Additional calibrations can be ordered in step 3.
S800710 | Wheat & Barley (moisture + protein+ Wet Gluten for Wheat) -Sample cell 18 mm (60023614) is included
Step 3 - Additional calibrations Optional (multiple choices allowed)
S800712 | Rapeseed/Canola - moisture & oil -Sample cell 8 mm (60035838) is included
S800713 | Triticale - moisture
S800714 | Rye - moisture
S800715 | Oats - moisture
S800716 | Durum Wheat - moisture & protein
S800717 | Corn /Maize Protein, moisture, oil and starch ( sample cell 30 mm not included)
S800718 | Soybean protein, moisture and oil ( sample cell 30 mm not included)
Step 4 - Check Cell Option * Mandatory (single choice allowed)
The Sample Handling Wheel has a built in Check Cell. This cell can be delivered either pre-packed (with vitreous durum wheat) or as an empty cell to be filled by the customer. Be aware that quarantine regulations in some countries prohibits import of live grain samples and there the Empty Check Cell option must be selected (e.g. Australia).
S800730 | Check Cell Pre-packed (with vitreous durum wheat).
S800731 | Check Cell Empty
Step 5 - Optional Printer This printer connects directly to the Infratec Sofia.
S800740 | Ticket Printer - Citizen Bon printer CTS851SNNEBK , complete with Ethernet Cable and Citizen Ethernet interface 2000445 for Auto-configuration
Step 6 - Language Mandatory (single choice allowed)
S800750 | English ; User Manual and Quick Guide
S800751 | German ; User Manual and Quick Guide
S800752 | Spanish ; User Manual and Quick Guide
S800753 | French ; User Manual and Quick Guide
Step 7 - Netcables, Mandatory (single choice allowed)
S800760 | Power Cable, Europe
S800761 | Power Cable, US
S800762 | Power Cable, UK
S800763 | Power Cable, Italy
S800764 | Power Cable, Denmark
Accessories
60035838 | Sample Cell 8 mm cpl
60023614 | Sample Cell 18 mm cpl
60035841 | Sample Cell 30 mm cpl
60031108 | Power Supply
60036397 | Check Cell Pre-packed (with vitreous durum wheat).
60023441 | Check Cell Empty
60030451 | Power Cable 12V , 3 m.
60025263 | SD Memory Plus
15290068 | Brush 20 mm
15910001 | Allen Key 3 mm
15910026 | Ring Spanner 10 mm
60028523 | Tool, Clamping ring
60026247 | Transportation Box
15290076 | Cleaning cloth, Anti-static
60024924 | Ethernet cable for Citizen Ticket Printer
60050049 | Ticket Printer - Citizen Bon printer CTS851SNNEBK
60050080 | Citizen Ethernet interface 2000445 for Auto-configuration
Spare Parts & Consumables
For a full list of Spare parts please refer to the Spare Part manual.
60026252 | Lamp kit
60026266 | Sample Handling Wheel (SHW) Cpl.
Documentation
60025350 | English ; User Manual
60037399 | German ; User Manual
60037401 | Spanish ; User Manual
60037400 | French ; User Manual
60025351 | English ; Quick Guide
60036430 | German ; Quick Guide
60036432 | Spanish ; Quick Guide
60036431 | French ; Quick Guide
Digital service
Part no. | Description
7001349 | FossManager
7001350 | FossManager Pro
7000335 | FossConnect OnPremise
7001531 | FossConnect Private (incl. hosting fee)
Product Configuration Guide

## Calibration Upgrade
Date issued: 2022-07-19
Version: 10
Infratec Sofia
Order no. | Description
Analyzer
12011030 | Infratec Sofia
General
Insert insturmnet serial number
Step1. Calibration Whole Grain (Choose your desired calibration)
S800710 | Wheat (moisture + protein+ Wet Gluten ) -Sample cell 18 mm (60023614) is included
S800711 | Barley (Moisture, Protein)
S800712 | Rapeseed/Canola - moisture & oil -Sample cell 8 mm (60035838) is included
S800713 | Triticale - moisture
S800714 | Rye - moisture
S800715 | Oats - moisture
S800716 | Durum Wheat - moisture & protein
S800717 | Corn /Maize Protein, moisture, oil and starch ( sample cell 30 mm not included)
S800718 | Soybean protein, moisture and oil ( sample cell 30 mm not included)
Product Configuration Guide