## BacSomatic
Product Configuration Guide
BacSomatic™
Introduction
The BacSomatic™ for the analysis of individual bacteria and Somatic cells in raw milk with flow cytometry.
Select instrument
Order no. | Use this number to start the order
4611000 | BacSomatic™
4699000 | BacSomatic™ Upgrade
BacSomatic™ version
S-Choice | The basic BacSomatic is for bacteria counting and the Somatic Cells are optional. It is not possible to configure with Somatic cells only.
S146100 | Individual Bacteria Count (IBC) only Performs Individual Bacteria Count (IBC) Cadence: 15 samples/hour.
S146101 | Somatic Cell Counts (SCC) Performs Individual Bacteria Count (IBC) and total Somatic Cell Count (SCC) Cadence: 15 samples/hour when IBC and SCC counted from the same sample 40 samples/hour when only SCC are counted
Select language
S146104 | English
S146105 | German
S146106 | Spanish
S146107 | French
S146111 | Portuguese
S146109 | Russian
S146110 | Chinese
Accessories
S146102 | Waste Unit Sensor Can also be ordered later using 60077355
S146108 | Sample Cups, 30 ml with lids, 750 pcs Can also be ordered later using 399436
Power Cables
Pick the country from the list and the matching power cord and plug will be supplied in the installation kit.

## Reagents
Product Configuration Guide
BacSomatic™ Reagents
Introduction
The BacSomatic™ for the analysis of individual bacteria and Somatic cells in raw milk with flow cytometry.
Reagents
• If you are buying a new BacSomatic IBC (S146100) you must order one piece of BacSomatic kit (for IBC count) and one piece of BacSomatic Rinse Concentrate. • If you are buying a new BacSomatic IBC & SCC (S146101) you must order one piece of BacSomatic kit (for bacteria count), one piece of SCC Dye (for somatic cells count) and one piece of BacSomatic Rinse Concentrate. • PCS, BCS and FMA is used for quality check.
557074 | Particle Control Sample (PCS) 1 vial x 20 ml Store (2-8)ºC, 12 months This sample is used as a Service Tool for adjustment of the laser during maintenance.
1030775 | Fossomatic Somatic Cell Adjustment Sample (FMA) 25 vials One vial is used once per week when SCC is measured Store: (2-22)ºC, Store in the dark Minimum shelf life of 6 months from the date of shipment from Hillerod.
60070030 | SCC Dye solution 1 bag of SCC dye Used for SCC count Approx. 1200 samples Store: Dark at 2-8ºC Minimum shelf life of 6 months from the date of shipment from Hillerod. When installed in the instrument - use within 16 weeks
60070033 | BacSomatic Rinse Concentrate 30 sachets; each for 5 liters Rinse/sheath liquid for flow cell One sachet used for approx. 500 samples Store: dry at room temperature, 12 months
60070034 | BacSomatic IBC kit Includes 1 IBC dye bag and 1 enzyme bag Used for IBC count Aprox. 600 samples Storage: Dark at 2-8ºC Transport: Temperature not critical, maximum 14 days Minimum shelf life of 6 months from the date of shipment from Hillerod. When installed in the instrument - use within 16 weeks
60083830 | Bacterial Control Sample (BCS) 24 vials, Reconstitute with 30 ml demineralised bacteria free water. Freeze dried bacterial samples. One vial is used approx. : • once per week if check sample is used every day • every day if check samples is not used Store: -15ºC, 9 months Transport: Temperature not critical, maximum 14 days

## Digital Services
Product Configuration Guide
BacSomatic™ Digital Services
Digital Services
Order no | The FOSS Software services listed below are subscription services and the price is per instrument and per year.
FossConnect consists of different connectivity services for automatic backup of data and remote management of instruments. FossConnect Basic is a free connectivity service with a limited feature set. Please see the FossConnect fact sheet for more information about the different FossConnect services.
FossAssure is a reporting service for monitoring the instrument operational status and validation of the calibration performance. We offer it as either the Instrument monitoring service only, or as a combined Instrument and Calibration monitoring service.
7001349 | FossManager
7001350 | FossManager Pro
7000335 | FossConnect OnPremise
7001531 | FossConnect Private (incl. hosting fee)
7001764 | FossAssure
7001765 | FossAssure Pro
7001353 | FossAssure 90 days trial
7001560 | FossCalibrator
7001561 | FossCalibrator Pro
7001756 | FossCalibrator Pro (90 days trial)
7001348 | LinkDiagnostic

## LOG
CHANGE LOG
Version | Date | Reason for update | Author
PCG60078474r12 | 2022-01-13 | New Template and 2022 update | Tony Maddison
PCG60078474r13 | 2022-08-26 | Update to template v2 | Tony Maddison